Arterial Catheterization

Dawn Perri, RVT

Indications:

- Required for direct blood pressure monitoring

- Makes serial blood gas analyses easy for you AND your patient.

- Avoid: if the patient is suspected of having a coagulopathy, except in cases of extreme necessity.

- Important to weigh the clinical value of the information against the added stress and potential risks to the patient.

Equipment:

- Arterial catheter.

- For direct blood pressure monitoring

  - Transducer with appropriate low compliance tubing

  - Compatible monitor with the appropriate transducer cable

- For arterial blood gases

  - Hand held blood gas analyzer

Site Selection:

- Most common (dog) is the dorsal pedal artery.

  - Preferred due to easy access and ease of controlling bleeding.

- Direct arterial catheterization on conscious cats is rarely performed.

- Alternate sites for arterial puncture and catheterization are:

  - The auricular artery

  - The femoral artery

  - The tail (caudal) artery

Supplies Needed:

- A pair of clippers with a standard #40 blade for surgical shave.

- Chlorhexadine scrub and Isopropyl alcohol.

- Limb support

- A sand bag, tightly rolled towel, or similar object will work fine.

- Non-bacteriostatic heparin saline

  - Bacteriostatic agents are extremely irritating to arteries

- 3cc syringe

- Catheter - over-the-needle type.

  - Use the brand you are most comfortable with

  - Choose one size smaller than you would for peripheral venous catheterization.

  - Dogs:

    - Most large dogs will take a 20ga x 2”.

    - Medium to small dogs will usually take a 22 gauge

    - Use a 24 gauge for very small dogs

  - Cats:

    - Recommended anesthetized

    - Leave catheter in not more than a few hours (higher incidence of arterial spasm and subsequent circulatory compromise.)

- T-port (pediatric) - best because it's made of low compliance tubing.

- Male adapter injection plug

- 3-way stopcock (must be a luer-lock)

- Bandage tape

- Sterile gauze pad

- Kling gauze wrap

Placement of the catheter:

- Do not attempt blind placement (if unable to palpate artery do not attempt placement.)

  - Ateriospasm will complicate matters

  - Less room for error than with venous catheterization.

- Perform a surgical site preparation and use only luer-lock accessories

- Successful arterial puncture = pulsatile bleeding when the stylet removed

Accessibility and Care:

- Place the luer-lock 3-way stopcock on the end of the T-port adapter.

  - Convenient for sample collection if continuous blood pressure monitor is attached to the patient.

- Catheter care performed when wrap becomes soiled or when catheter function must be assessed.

  - Catheter care is due at least every 48 hours.

  - Catheter care:

    - Dismantle catheter wrap to the tape around the foot.

    - Examine the insertion site for redness or swelling.

    - Perform a 3-scrub with Chlorhexadine and alcohol.

      - Substitute sterile water/saline for alcohol if the skin around the insertion site is irritated.

    - Aspirate and flush the catheter.

    - Observe the catheter at the insertion site and along its length for evidence of perivascular leakage.

    - Note any pain response by the patient when flushing

    - Replace the sterile gauze pad

    - Rewrap the catheter with Kling gauze