Nursing - Intravenous Catheterization

Elizabeth Warren, RVT

INTRAVENOUS CATHETERS.

| Indication | Catheter Types | Locations | Care |
| --- | --- | --- | --- |
| Single bolus injection | Butterfly | Cephalic vein, Saphenous vein, Femoral vein | Tape in place (around wings) to prevent infiltration or laceration of vein |
| Fluid therapy Repeated injections | Peripheral indwelling over-the-needle | Cephalic vein Saphenous vein Femoral vein | Keep securing bandage clean and dry Watch for redness/swelling at site and swelling above and below catheter Flush every four hours if not in continuous use |
| CVP monitoring Administration of hypertonic and/or hyperosmolar solutions Repeated blood draws | Central and peripherally inserted central catheters (PICC) indwelling through-the-needle (Intracath, Seldinger, break-away techniques) | Jugular vein Medial vein Saphenous vein Lateral saphenous vein (dogs) | Placement requires aseptic technique and often sedation Verify correct placement Stabilization may require glue and/or sutures in addition to bandage Patient must be prevented from bothering site |
| Multiple use Simultaneous use | Multilumen (2-4 ports) Peripheral catheters Central catheters | Depends on type, length, and uses | Flush ports not in use Label to ensure consistent, compatible use |

Assortment of peripheral over-the-needle IV catheters, plugs, and ports available.

Models include Cathlon® and Jelco® (Johnson and Johnson), Surflo® (Terumo), Insyte® (Becton-Dickson). Angiocath® (B-D), and Safelet® (Nipro)

Back Row (left to right): 14ga x 2”; 14ga x 2-1/4”; 16ga x 1.16”; 18ga x 1-1/4”; 18ga x 1-3/4”; 18ga x 1.16”; 20ga x 1-1/4”; 20ga x 1.88”; 22ga x 1”; 24ga x 3/4”

Front Row (left to right): 3 styles of injection plugs (luer slip and luer lock), multi-port injection plug, and T-port connector

General tips and rules for IV catheter placement

- Prepare equipment and supplies first:

  - Assemble catheter(s)

  - Injection plug

  - T-port

  - Fluid administration set (pre-flushed)

  - Extra flush solution

  - A needle

  - Clippers

  - Gauze or cotton with scrub solutions

  - Pre-cut lengths of 1/2” and 1” adhesive tape

  - Other bandaging materials PRN

  - Topical antibiotic ointment PRN

- Dab topical anesthetic ointment on insertion site can make initial needle stick less of a shock

  - Especially helpful for very nervous, hyperactive, and aggressive patients.

- Sufficient restraint is key! Use one or more of the following:

  - Assistant

  - Restraint devices

  - Chemical restraint.

- Clip a wide area of hair around insertion site.

- Prep site by doing a surgical scrub

  - Be sure soapy solutions are completely removed

    - Rinse with antimicrobial solution instead of alcohol; less painful

  - Allow skin to dry

  - Wipe excess solution from surrounding hair before placing catheter

    - Tape will stick better and bandage will be dry

- Choose catheter size depending on

  - Size of patient

  - Site of insertion

  - Planned use

    - For peripheral catheters generally

      - 24ga for neonates and small exotics

      - 22ga for cats and small dogs

      - 18-20ga for medium dogs

      - 16-18ga for large dogs

      - 14ga for giant dogs

- Initial skin nick: use cutting edge of a needle to nick the skin near the planned insertion site

- Insert the catheter through this “pre-made” hole

  - Insert catheter with the bevel side up into the vein to minimize trauma to vessel wall

  - Flashback (blood in the hub of the needle) indicates placement in the vein

  - Use @ 15-30o angle

  - Advance the needle 2-3 mm

  - Watch for continued flashback before advancing the catheter - ensures catheter tip is also in the vein.

- Hold the stylet in place gently advance the catheter forward into the vein.

  - If catheter does not advance easily, remove and try again.

- Start your catheter placements distally

  - Repeat attempts can be made on the same vein, proximal to the initial site, if needed.

  - If catheter is placed too high, (i.e. cephalic veins) = more likely to be “positional”

    - Flow is dependent on the position of the patient's leg

- Flush catheter with saline or heparinized saline - prevents clotting while placing tape and bandage.

- Tape connections and tubing - want minimal movement of catheter if the patient pulls or steps on the line.

- Maintenance care:

  - Tape and bandages must be kept clean and dry.

  - Watch for redness, irritation, or swelling at, above, and below the catheter site.

  - Peripheral catheters should be replaced every 72 hours.

  - Well-maintained central line catheters may be left in place for 5-7 days or longer.

Visual guide web links for catheter placement:

http://www.vetmed.wsu.edu/courses_samDX/cephalic.htm

http://www.vetmed.wsu.edu/courses_samDX/butterfly.htm

http://www.vetmed.wsu.edu/courses_samDX/jugcath.htm